**Care Instructions for your BK Prosthesis**

**Insert Care:**

* **Silicone Line-** It is highly recommended to clean your liner daily to reduce germ residue buildup and also rotate between liners to lengthen their life span
* **Daily regimen**:
	+ - Turn the liner inside out and wash with warm water and a mild soap. Be sure to rinse the liner thoroughly and wipe clean with a lint free cloth. Turn liner right side out and hang or lay flat to dry.
	+ **Weekly Regimen:**
		- Turn the liner inside out and spray with rubbing alcohol. Wipe the liner clean with a lint free cloth and hang or lay flat to dry.
* **Pelite Liner-** The pelite liner should be sprayed down weekly woth alcohol and allowed to dry. This will help reduce any germ or residue buildup.

**Prosthetic Socks and Shrinker Care:**

* **Prosthetic Socks-** It is recommended to apply clean prosthetic socks daily inside your prosthesis. Socks can be machine or hand washed with a mild soap and machine dried or allowed to hang dry.
* **Shrinkers-** Compression socks may be hand or machine washed with a mild soap and may be machine dried or allowed to hang dry. You will find manufacturers specific care instructions on the package.

**Prosthetic Socket:**

* The inside of your prosthetic socket should be sprayed with alcohol weekly and wiped clean with a clean cloth. If at any time your socket receives any type of damage, please call your prosthetist immediately for inspection.
* If your prosthesis has a locking mechanism, be sure to keep the lock clean and free of debris which could cause a lock failure. Keep your prosthetic socks in good condition; any frayed edges around the pin hole can interfere with your lock functioning properly.

**Prosthetic Foot:**

* It is recommended to remove our sock and shoes weekly to inspect the prosthetic foot and debris that may cause excessive wear.

If at any time you have questions or concerns, please contact your prosthetist.